## Sheet2
Year n	actual Build cost	discounted Build cost	actual O&M cost	discounted O&M cost	discounted cumulative cost
$0.00	$1,020.00	$1,020.00	$37.50	$37.50	$1,057.50
$1.00	0	$0.00	$37.50	$35.71	$1,093.21
$2.00	0	$0.00	$37.50	$34.01	$1,127.23
$3.00	0	$0.00	$37.50	$32.39	$1,159.62
$4.00	0	$0.00	$37.50	$30.85	$1,190.47
$5.00	0	$0.00	$37.50	$29.38	$1,219.86
$6.00	0	$0.00	$37.50	$27.98	$1,247.84
$7.00	0	$0.00	$37.50	$26.65	$1,274.49
$8.00	0	$0.00	$37.50	$25.38	$1,299.87
$9.00	0	$0.00	$37.50	$24.17	$1,324.04
$10.00	0	$0.00	$37.50	$23.02	$1,347.07
$11.00	0	$0.00	$37.50	$21.93	$1,368.99
$12.00	0	$0.00	$37.50	$20.88	$1,389.87
$13.00	0	$0.00	$37.50	$19.89	$1,409.76
$14.00	0	$0.00	$37.50	$18.94	$1,428.70
$15.00	235	$113.04	$37.50	$18.04	$1,559.78
$16.00	0	$0.00	$37.50	$17.18	$1,576.96
$17.00	0	$0.00	$37.50	$16.36	$1,593.32
$18.00	0	$0.00	$37.50	$15.58	$1,608.90
$19.00	0	$0.00	$37.50	$14.84	$1,623.74
$20.00	0	$0.00	$37.50	$14.13	$1,637.87
$21.00	0	$0.00	$37.50	$13.46	$1,651.33
$22.00	0	$0.00	$37.50	$12.82	$1,664.15
$23.00	0	$0.00	$37.50	$12.21	$1,676.36
$24.00	0	$0.00	$37.50	$11.63	$1,687.99
$25.00	0	$0.00	$37.50	$11.07	$1,699.06
$26.00	0	$0.00	$37.50	$10.55	$1,709.61
$27.00	0	$0.00	$37.50	$10.04	$1,719.65
$28.00	0	$0.00	$37.50	$9.57	$1,729.22
$29.00	0	$0.00	$37.50	$9.11	$1,738.33
$30.00	480	$111.06	$37.50	$8.68	$1,858.07
$31.00	0	$0.00	$37.50	$8.26	$1,866.33
$32.00	0	$0.00	$37.50	$7.87	$1,874.20
$33.00	0	$0.00	$37.50	$7.50	$1,881.70
$34.00	0	$0.00	$37.50	$7.14	$1,888.83
$35.00	0	$0.00	$37.50	$6.80	$1,895.63
$36.00	0	$0.00	$37.50	$6.47	$1,902.11
$37.00	0	$0.00	$37.50	$6.17	$1,908.27
$38.00	0	$0.00	$37.50	$5.87	$1,914.15
$39.00	0	$0.00	$37.50	$5.59	$1,919.74
$40.00	0	$0.00	$37.50	$5.33	$1,925.07
$41.00	0	$0.00	$37.50	$5.07	$1,930.14
$42.00	0	$0.00	$37.50	$4.83	$1,934.97
$43.00	0	$0.00	$37.50	$4.60	$1,939.57
$44.00	0	$0.00	$37.50	$4.38	$1,943.95
$45.00	235	$26.15	$37.50	$4.17	$1,974.28
$46.00	0	$0.00	$37.50	$3.97	$1,978.26
$47.00	0	$0.00	$37.50	$3.79	$1,982.04
$48.00	0	$0.00	$37.50	$3.61	$1,985.65
$49.00	0	$0.00	$37.50	$3.43	$1,989.08
$50.00	0	$0.00	$37.50	$3.27	$1,992.35
Decommission = 1%	$1,970.00	$171.79			$2,164.14
All values are in units of $ /kW
Energy source is Onshore wind
Assumed discount rate is 5% /yr
Levelized cost of Power =		$2,164.14	$ /kW
Capacity Factor = 37.9%
Levelized Cost of Energy – LCOE =		= $2164.14 ÷	166.002	$13.04	/MWh

## Sheet1
	Actual	Discounted	Actual	Discounted	Cumulative	Yearly	Discounted
	Build cost	Build cost	O&M cost	O&M cost	cost	energy	yearly energy	Remarks
Year n	$1,020 /kW					average	in MWh	On Shore Wind @ 0%
	$1,020	$1,020.00	$37.50	$37.50	$1,057.50	3.320	3.320	Construction
1	0	$0.00	$37.50	$37.50	$1,095.00	3.320	3.320	completed
2	0	$0.00	$37.50	$37.50	$1,132.50	3.320	3.320	In 1 year
3	0	$0.00	$37.50	$37.50	$1,170.00	3.320	3.320
4	0	$0.00	$37.50	$37.50	$1,207.50	3.320	3.320	Total CAPEX = $1,020 /kW
5	0	$0.00	$37.50	$37.50	$1,245.00	3.320	3.320
6	0	$0.00	$37.50	$37.50	$1,282.50	3.320	3.320	Columns A through F
7	0	$0.00	$37.50	$37.50	$1,320.00	3.320	3.320	are nominal dollars
8	0	$0.00	$37.50	$37.50	$1,357.50	3.320	3.320	per kilowatt
9	0	$0.00	$37.50	$37.50	$1,395.00	3.320	3.320	of peak generating
10	0	$0.00	$37.50	$37.50	$1,432.50	3.320	3.320	capacity
11	0	$0.00	$37.50	$37.50	$1,470.00	3.320	3.320
12	$91.80	$91.80	$37.50	$37.50	$1,599.30	3.320	3.320	Replace AC converter 9%
13	$0.00	$0.00	$37.50	$37.50	$1,636.80	3.320	3.320
14	0	$0.00	$37.50	$37.50	$1,674.30	3.320	3.320
15	0	$0.00	$37.50	$37.50	$1,711.80	3.320	3.320
16	0	$0.00	$37.50	$37.50	$1,749.30	3.320	3.320
17	0	$0.00	$37.50	$37.50	$1,786.80	3.320	3.320
18	0	$0.00	$37.50	$37.50	$1,824.30	3.320	3.320
19	0	$0.00	$37.50	$37.50	$1,861.80	3.320	3.320
20	0	$0.00	$37.50	$37.50	$1,899.30	3.320	3.320	Replace blades 31%
21	0	$0.00	$37.50	$37.50	$1,936.80	3.320	3.320
22	0	$0.00	$37.50	$37.50	$1,974.30	3.320	3.320
23	0	$0.00	$37.50	$37.50	$2,011.80	3.320	3.320
24	$91.80	$91.80	$37.50	$37.50	$2,141.10	3.320	3.320	Replace AC converter 9%
25	0	$0.00	$37.50	$37.50	$2,178.60	3.320	3.320
26	0	$0.00	$37.50	$37.50	$2,216.10	3.320	3.320
27	0	$0.00	$37.50	$37.50	$2,253.60	3.320	3.320
28	0	$0.00	$37.50	$37.50	$2,291.10	3.320	3.320
29	0	$0.00	$37.50	$37.50	$2,328.60	3.320	3.320
30	$652.80	$652.80	$37.50	$37.50	$3,018.90	3.320	3.320	Replace all hardware = 64%
31	0	$0.00	$37.50	$37.50	$3,056.40	3.320	3.320	Gearbox, generator,
32	0	$0.00	$37.50	$37.50	$3,093.90	3.320	3.320	transformer, converter & blades
33	0	$0.00	$37.50	$37.50	$3,131.40	3.320	3.320	24% + 9% + 31% = 64%
34	0	$0.00	$37.50	$37.50	$3,168.90	3.320	3.320
35	0	$0.00	$37.50	$37.50	$3,206.40	3.320	3.320
36	0	$0.00	$37.50	$37.50	$3,243.90	3.320	3.320
37	0	$0.00	$37.50	$37.50	$3,281.40	3.320	3.320
38	0	$0.00	$37.50	$37.50	$3,318.90	3.320	3.320
39	0	$0.00	$37.50	$37.50	$3,356.40	3.320	3.320
40	0	$0.00	$37.50	$37.50	$3,393.90	3.320	3.320
41	0	$0.00	$37.50	$37.50	$3,431.40	3.320	3.320
42	$91.80	$91.80	$37.50	$37.50	$3,560.70	3.320	3.320	Replace AC converter 9%
43	0	$0.00	$37.50	$37.50	$3,598.20	3.320	3.320
44	0	$0.00	$37.50	$37.50	$3,635.70	3.320	3.320
45	0	$0.00	$37.50	$37.50	$3,673.20	3.320	3.320
46	0	$0.00	$37.50	$37.50	$3,710.70	3.320	3.320
47	0	$0.00	$37.50	$37.50	$3,748.20	3.320	3.320
48	0	$0.00	$37.50	$37.50	$3,785.70	3.320	3.320
49	0	$0.00	$37.50	$37.50	$3,823.20	3.320	3.320
50	$316.20	$316.20	$37.50	$37.50	$4,176.90	3.320	3.320	Replace blades 31%
51	0	$0.00	$37.50	$37.50	$4,214.40	3.320	3.320
52	0	$0.00	$37.50	$37.50	$4,251.90	3.320	3.320
53	0	$0.00	$37.50	$37.50	$4,289.40	3.320	3.320
54	$91.80	$91.80	$37.50	$37.50	$4,418.70	3.320	3.320	Replace AC converter 9%
55	0	$0.00	$37.50	$37.50	$4,456.20	3.320	3.320
56	0	$0.00	$37.50	$37.50	$4,493.70	3.320	3.320
57	0	$0.00	$37.50	$37.50	$4,531.20	3.320	3.320
58	0	$0.00	$37.50	$37.50	$4,568.70	3.320	3.320
59	0	$0.00	$37.50	$37.50	$4,606.20	3.320	3.320
60	0	$0.00	$37.50	$37.50	$4,643.70	3.320	3.320
Total BLDG cost	$2,356.20	Replacements performed		Actual lifetime energy (MWh)		202.52	202.52	Discounted lifetime energy (MWh)
Decom = 1.25%	$29.45
		Levelized Cost of Power ($ /kW)			$4,673.15	include decommission from column A
	All the above values are in units of $ /kW

	Levelized Cost of Energy – LCOE ($ /MWh)				$23.07	Levelized cost of power
						divided by
		All above values are in units of $ /kW				discounted lifetime energy

Source is On Shore Wind w/ CF = 37.9%			0.379	3.320	average yearly energy (MWh)
Assumed discount rate is 0% /year
Levelized Cost of Power in $ /kW units			$4,673.15	from Column F above, after year 60
Conversion factor from Power to Actual Energy			0.0050200198	for CF = 0.379	Conversion = 1 ÷ (CF x 8760 h /yr x 60 yrs /1000 kW per MW)

Levelized Cost of Energy			$23.07	/MWh	LCOE