## Sheet2
Year n	actual Build cost	discounted Build cost	actual O&M cost	discounted O&M cost	discounted cumulative cost
$0.00	$1,020.00	$1,020.00	$37.50	$37.50	$1,057.50
$1.00	0	$0.00	$37.50	$35.71	$1,093.21
$2.00	0	$0.00	$37.50	$34.01	$1,127.23
$3.00	0	$0.00	$37.50	$32.39	$1,159.62
$4.00	0	$0.00	$37.50	$30.85	$1,190.47
$5.00	0	$0.00	$37.50	$29.38	$1,219.86
$6.00	0	$0.00	$37.50	$27.98	$1,247.84
$7.00	0	$0.00	$37.50	$26.65	$1,274.49
$8.00	0	$0.00	$37.50	$25.38	$1,299.87
$9.00	0	$0.00	$37.50	$24.17	$1,324.04
$10.00	0	$0.00	$37.50	$23.02	$1,347.07
$11.00	0	$0.00	$37.50	$21.93	$1,368.99
$12.00	0	$0.00	$37.50	$20.88	$1,389.87
$13.00	0	$0.00	$37.50	$19.89	$1,409.76
$14.00	0	$0.00	$37.50	$18.94	$1,428.70
$15.00	235	$113.04	$37.50	$18.04	$1,559.78
$16.00	0	$0.00	$37.50	$17.18	$1,576.96
$17.00	0	$0.00	$37.50	$16.36	$1,593.32
$18.00	0	$0.00	$37.50	$15.58	$1,608.90
$19.00	0	$0.00	$37.50	$14.84	$1,623.74
$20.00	0	$0.00	$37.50	$14.13	$1,637.87
$21.00	0	$0.00	$37.50	$13.46	$1,651.33
$22.00	0	$0.00	$37.50	$12.82	$1,664.15
$23.00	0	$0.00	$37.50	$12.21	$1,676.36
$24.00	0	$0.00	$37.50	$11.63	$1,687.99
$25.00	0	$0.00	$37.50	$11.07	$1,699.06
$26.00	0	$0.00	$37.50	$10.55	$1,709.61
$27.00	0	$0.00	$37.50	$10.04	$1,719.65
$28.00	0	$0.00	$37.50	$9.57	$1,729.22
$29.00	0	$0.00	$37.50	$9.11	$1,738.33
$30.00	480	$111.06	$37.50	$8.68	$1,858.07
$31.00	0	$0.00	$37.50	$8.26	$1,866.33
$32.00	0	$0.00	$37.50	$7.87	$1,874.20
$33.00	0	$0.00	$37.50	$7.50	$1,881.70
$34.00	0	$0.00	$37.50	$7.14	$1,888.83
$35.00	0	$0.00	$37.50	$6.80	$1,895.63
$36.00	0	$0.00	$37.50	$6.47	$1,902.11
$37.00	0	$0.00	$37.50	$6.17	$1,908.27
$38.00	0	$0.00	$37.50	$5.87	$1,914.15
$39.00	0	$0.00	$37.50	$5.59	$1,919.74
$40.00	0	$0.00	$37.50	$5.33	$1,925.07
$41.00	0	$0.00	$37.50	$5.07	$1,930.14
$42.00	0	$0.00	$37.50	$4.83	$1,934.97
$43.00	0	$0.00	$37.50	$4.60	$1,939.57
$44.00	0	$0.00	$37.50	$4.38	$1,943.95
$45.00	235	$26.15	$37.50	$4.17	$1,974.28
$46.00	0	$0.00	$37.50	$3.97	$1,978.26
$47.00	0	$0.00	$37.50	$3.79	$1,982.04
$48.00	0	$0.00	$37.50	$3.61	$1,985.65
$49.00	0	$0.00	$37.50	$3.43	$1,989.08
$50.00	0	$0.00	$37.50	$3.27	$1,992.35
Decommission = 1%	$1,970.00	$171.79			$2,164.14
All values are in units of $ /kW
Energy source is Onshore wind
Assumed discount rate is 5% /yr
Levelized cost of Power =		$2,164.14	$ /kW
Capacity Factor = 37.9%
Levelized Cost of Energy – LCOE =		= $2164.14 ÷	166.002	$13.04	/MWh

## Sheet1
	Actual	Discounted	Actual	Discounted	Cumulative	Yearly	Discounted
	Build cost	Build cost	O&M cost	O&M cost	cost	energy	yearly energy	Remarks
Year n	$750 /kW					average	in MWh	Utility PV Solar @ 10%
	$750	$750.00	$19.50	$19.50	$769.50	1.822	1.822	Construction
1	0	$0.00	$19.50	$17.73	$787.23	1.822	1.656	completed
2	0	$0.00	$19.50	$16.12	$803.34	1.822	1.506	In 1 year
3	0	$0.00	$19.50	$14.65	$817.99	1.822	1.369
4	0	$0.00	$19.50	$13.32	$831.31	1.822	1.245	Total CAPEX = $750 /kW
5	0	$0.00	$19.50	$12.11	$843.42	1.822	1.131
6	0	$0.00	$19.50	$11.01	$854.43	1.822	1.029	Columns A through F
7	0	$0.00	$19.50	$10.01	$864.43	1.822	0.935	are nominal dollars
8	0	$0.00	$19.50	$9.10	$873.53	1.822	0.850	per kilowatt
9	0	$0.00	$19.50	$8.27	$881.80	1.822	0.773	of peak generating
10	0	$0.00	$19.50	$7.52	$889.32	1.822	0.702	capacity
11	0	$0.00	$19.50	$6.83	$896.15	1.822	0.639
12	$37.50	$11.95	$19.50	$6.21	$914.32	1.822	0.581	Replace DC inverter 5%
13	0	$0.00	$19.50	$5.65	$919.96	1.822	0.528
14	0	$0.00	$19.50	$5.13	$925.10	1.822	0.480
15	0	$0.00	$19.50	$4.67	$929.77	1.822	0.436
16	0	$0.00	$19.50	$4.24	$934.01	1.822	0.397
17	0	$0.00	$19.50	$3.86	$937.87	1.822	0.360
18	0	$0.00	$19.50	$3.51	$941.38	1.822	0.328
19	0	$0.00	$19.50	$3.19	$944.56	1.822	0.298
20	0	$0.00	$19.50	$2.90	$947.46	1.822	0.271
21	0	$0.00	$19.50	$2.64	$950.10	1.822	0.246
22	0	$0.00	$19.50	$2.40	$952.49	1.822	0.224
23	0	$0.00	$19.50	$2.18	$954.67	1.822	0.203
24	$37.50	$3.81	$19.50	$1.98	$960.46	1.822	0.185	Replace DC inverter 5%
25	0	$0.00	$19.50	$1.80	$962.26	1.822	0.168
26	0	$0.00	$19.50	$1.64	$963.89	1.822	0.153
27	0	$0.00	$19.50	$1.49	$965.38	1.822	0.139
28	0	$0.00	$19.50	$1.35	$966.73	1.822	0.126
29	0	$0.00	$19.50	$1.23	$967.96	1.822	0.115
30	0	$0.00	$19.50	$1.12	$969.08	1.822	0.104
31	0	$0.00	$19.50	$1.02	$970.10	1.822	0.095
32	0	$0.00	$19.50	$0.92	$971.02	1.822	0.086
33	0	$0.00	$19.50	$0.84	$971.86	1.822	0.078
34	0	$0.00	$19.50	$0.76	$972.62	1.822	0.071
35	0	$0.00	$19.50	$0.69	$973.32	1.822	0.065
36	$37.50	$1.21	$19.50	$0.63	$975.16	1.822	0.059	Replace DC inverter 5%
37	0	$0.00	$19.50	$0.57	$975.73	1.822	0.054
38	0	$0.00	$19.50	$0.52	$976.26	1.822	0.049
39	0	$0.00	$19.50	$0.47	$976.73	1.822	0.044
40	0	$0.00	$19.50	$0.43	$977.16	1.822	0.040
41	0	$0.00	$19.50	$0.39	$977.55	1.822	0.037
42	0	$0.00	$19.50	$0.36	$977.91	1.822	0.033
43	0	$0.00	$19.50	$0.32	$978.23	1.822	0.030
44	0	$0.00	$19.50	$0.29	$978.53	1.822	0.027
45	0	$0.00	$19.50	$0.27	$978.79	1.822	0.025
46	$0.00	$0.00	$19.50	$0.24	$979.04	1.822	0.023
47	0	$0.00	$19.50	$0.22	$979.26	1.822	0.021
48	$712.50	$7.34	$19.50	$0.20	$986.80	1.822	0.019	Replace hardware = 95%
49	0	$0.00	$19.50	$0.18	$986.99	1.822	0.017	Panel module and BOS hardware plus labor.
50	0	$0.00	$19.50	$0.17	$987.15	1.822	0.016	71% + 24% = 95%
51	0	$0.00	$19.50	$0.15	$987.30	1.822	0.014
52	0	$0.00	$19.50	$0.14	$987.44	1.822	0.013
53	0	$0.00	$19.50	$0.12	$987.56	1.822	0.012
54	0	$0.00	$19.50	$0.11	$987.68	1.822	0.011
55	0	$0.00	$19.50	$0.10	$987.78	1.822	0.010
56	0	$0.00	$19.50	$0.09	$987.88	1.822	0.009
57	0	$0.00	$19.50	$0.09	$987.96	1.822	0.008
58	0	$0.00	$19.50	$0.08	$988.04	1.822	0.007
59	0	$0.00	$19.50	$0.07	$988.11	1.822	0.007
60	0	0	$19.50	$0.06	$988.17	1.822	0.006
Total BLDG cost	$1,575.00	Replacements performed		Actual lifetime energy (MWh)		111.15	19.98	Discounted lifetime energy (MWh)
Decom = 0.75%	$11.81
		Levelized Cost of Power ($ /kW)			$999.99	Include decommission from column B
	All the above values are in units of $ /kW

	Levelized Cost of Energy – LCOE ($ /MWh)				$50.04		Equals Levelized cost of power
							divided by
		All above values are in units of $ /kW					discounted lifetime energy

Source is Utility Solar w/ CF = 20.8%			0.208	1.822	average yearly energy (MWh)
Assumed discount rate is 10% /year
Levelized Cost of Power in $ /kW units			$999.99	from Column F above, after year 60
Conversion factor from Power to Actual Energy			0.0091470554	for CF = 0.208	Conversion = 1 ÷ (CF x 8760 h /yr x 60 yrs /1000 kW per MW)

Levelized Cost of Energy			$50.04	/MWh	LCOE