## Sheet2
Year n	actual Build cost	discounted Build cost	actual O&M cost	discounted O&M cost	discounted cumulative cost
$0.00	$1,020.00	$1,020.00	$37.50	$37.50	$1,057.50
$1.00	0	$0.00	$37.50	$35.71	$1,093.21
$2.00	0	$0.00	$37.50	$34.01	$1,127.23
$3.00	0	$0.00	$37.50	$32.39	$1,159.62
$4.00	0	$0.00	$37.50	$30.85	$1,190.47
$5.00	0	$0.00	$37.50	$29.38	$1,219.86
$6.00	0	$0.00	$37.50	$27.98	$1,247.84
$7.00	0	$0.00	$37.50	$26.65	$1,274.49
$8.00	0	$0.00	$37.50	$25.38	$1,299.87
$9.00	0	$0.00	$37.50	$24.17	$1,324.04
$10.00	0	$0.00	$37.50	$23.02	$1,347.07
$11.00	0	$0.00	$37.50	$21.93	$1,368.99
$12.00	0	$0.00	$37.50	$20.88	$1,389.87
$13.00	0	$0.00	$37.50	$19.89	$1,409.76
$14.00	0	$0.00	$37.50	$18.94	$1,428.70
$15.00	235	$113.04	$37.50	$18.04	$1,559.78
$16.00	0	$0.00	$37.50	$17.18	$1,576.96
$17.00	0	$0.00	$37.50	$16.36	$1,593.32
$18.00	0	$0.00	$37.50	$15.58	$1,608.90
$19.00	0	$0.00	$37.50	$14.84	$1,623.74
$20.00	0	$0.00	$37.50	$14.13	$1,637.87
$21.00	0	$0.00	$37.50	$13.46	$1,651.33
$22.00	0	$0.00	$37.50	$12.82	$1,664.15
$23.00	0	$0.00	$37.50	$12.21	$1,676.36
$24.00	0	$0.00	$37.50	$11.63	$1,687.99
$25.00	0	$0.00	$37.50	$11.07	$1,699.06
$26.00	0	$0.00	$37.50	$10.55	$1,709.61
$27.00	0	$0.00	$37.50	$10.04	$1,719.65
$28.00	0	$0.00	$37.50	$9.57	$1,729.22
$29.00	0	$0.00	$37.50	$9.11	$1,738.33
$30.00	480	$111.06	$37.50	$8.68	$1,858.07
$31.00	0	$0.00	$37.50	$8.26	$1,866.33
$32.00	0	$0.00	$37.50	$7.87	$1,874.20
$33.00	0	$0.00	$37.50	$7.50	$1,881.70
$34.00	0	$0.00	$37.50	$7.14	$1,888.83
$35.00	0	$0.00	$37.50	$6.80	$1,895.63
$36.00	0	$0.00	$37.50	$6.47	$1,902.11
$37.00	0	$0.00	$37.50	$6.17	$1,908.27
$38.00	0	$0.00	$37.50	$5.87	$1,914.15
$39.00	0	$0.00	$37.50	$5.59	$1,919.74
$40.00	0	$0.00	$37.50	$5.33	$1,925.07
$41.00	0	$0.00	$37.50	$5.07	$1,930.14
$42.00	0	$0.00	$37.50	$4.83	$1,934.97
$43.00	0	$0.00	$37.50	$4.60	$1,939.57
$44.00	0	$0.00	$37.50	$4.38	$1,943.95
$45.00	235	$26.15	$37.50	$4.17	$1,974.28
$46.00	0	$0.00	$37.50	$3.97	$1,978.26
$47.00	0	$0.00	$37.50	$3.79	$1,982.04
$48.00	0	$0.00	$37.50	$3.61	$1,985.65
$49.00	0	$0.00	$37.50	$3.43	$1,989.08
$50.00	0	$0.00	$37.50	$3.27	$1,992.35
Decommission = 1%	$1,970.00	$171.79			$2,164.14
All values are in units of $ /kW
Energy source is Onshore wind
Assumed discount rate is 5% /yr
Levelized cost of Power =		$2,164.14	$ /kW
Capacity Factor = 37.9%
Levelized Cost of Energy – LCOE =		= $2164.14 ÷	166.002	$13.04	/MWh

## Sheet1
	Actual	Discounted	Actual	Discounted	Cumulative	Yearly	Discounted
	Build cost	Build cost	O&M cost	O&M cost	cost	energy	yearly energy	Remarks
Year n	$750 /kW					average	in MWh	Utility PV Solar @ 2%
	$750	$750.00	$19.50	$19.50	$769.50	1.822	1.822	Construction
1	0	0	$19.50	$19.12	$788.62	1.822	1.786	completed
2	0	0	$19.50	$18.74	$807.36	1.822	1.751	In 1 year
3	0	0	$19.50	$18.38	$825.74	1.822	1.717
4	0	0	$19.50	$18.01	$843.75	1.822	1.683	Total CAPEX = $750 /kW
5	0	0	$19.50	$17.66	$861.41	1.822	1.650
6	0	0	$19.50	$17.32	$878.73	1.822	1.618	Columns A through F
7	0	0	$19.50	$16.98	$895.70	1.822	1.586	are nominal dollars
8	0	0	$19.50	$16.64	$912.35	1.822	1.555	per kilowatt
9	0	0	$19.50	$16.32	$928.66	1.822	1.525	of peak generating
10	0	0	$19.50	$16.00	$944.66	1.822	1.495	capacity
11	0	0	$19.50	$15.68	$960.34	1.822	1.465
12	$37.50	$29.57	$19.50	$15.38	$1,005.29	1.822	1.437	Replace DC inverter 5%
13	0	0	$19.50	$15.07	$1,020.36	1.822	1.409
14	0	0	$19.50	$14.78	$1,035.14	1.822	1.381
15	0	0	$19.50	$14.49	$1,049.63	1.822	1.354
16	0	0	$19.50	$14.20	$1,063.83	1.822	1.327
17	0	0	$19.50	$13.93	$1,077.76	1.822	1.301
18	0	0	$19.50	$13.65	$1,091.41	1.822	1.276
19	0	0	$19.50	$13.39	$1,104.80	1.822	1.251
20	0	$0	$19.50	$13.12	$1,117.92	1.822	1.226
21	0	0	$19.50	$12.87	$1,130.79	1.822	1.202
22	0	0	$19.50	$12.61	$1,143.40	1.822	1.179
23	0	0	$19.50	$12.37	$1,155.77	1.822	1.155
24	$37.50	$23.31	$19.50	$12.12	$1,191.20	1.822	1.133	Replace DC inverter 5%
25	0	0	$19.50	$11.89	$1,203.09	1.822	1.111
26	0	0	$19.50	$11.65	$1,214.74	1.822	1.089
27	0	0	$19.50	$11.42	$1,226.17	1.822	1.067
28	0	0	$19.50	$11.20	$1,237.37	1.822	1.047
29	0	0	$19.50	$10.98	$1,248.35	1.822	1.026
30	0	0	$19.50	$10.77	$1,259.11	1.822	1.006
31	0	0	$19.50	$10.55	$1,269.67	1.822	0.986
32	0	0	$19.50	$10.35	$1,280.02	1.822	0.967
33	0	0	$19.50	$10.14	$1,290.16	1.822	0.948
34	0	0	$19.50	$9.95	$1,300.11	1.822	0.929
35	0	0	$19.50	$9.75	$1,309.86	1.822	0.911
36	$37.50	$18.38	$19.50	$9.56	$1,337.80	1.822	0.893	Replace DC inverter 5%
37	0	0	$19.50	$9.37	$1,347.17	1.822	0.876
38	0	0	$19.50	$9.19	$1,356.36	1.822	0.859
39	0	0	$19.50	$9.01	$1,365.37	1.822	0.842
40	0	0	$19.50	$8.83	$1,374.20	1.822	0.825
41	0	0	$19.50	$8.66	$1,382.86	1.822	0.809
42	0	0	$19.50	$8.49	$1,391.34	1.822	0.793
43	0	0	$19.50	$8.32	$1,399.67	1.822	0.778
44	0	0	$19.50	$8.16	$1,407.83	1.822	0.762
45	0	0	$19.50	$8.00	$1,415.82	1.822	0.747
46	$0.00	$0.00	$19.50	$7.84	$1,423.67	1.822	0.733
47	0	0	$19.50	$7.69	$1,431.35	1.822	0.718
48	$712.50	$275.41	$19.50	$7.54	$1,714.30	1.822	0.704	Replace hardware = 95%
49	0	0	$19.50	$7.39	$1,721.69	1.822	0.690	Panel module and BOS hardware plus labor.
50	0	$0	$19.50	$7.24	$1,728.93	1.822	0.677	71% + 24% = 95%
51	0	0	$19.50	$7.10	$1,736.04	1.822	0.664
52	0	0	$19.50	$6.96	$1,743.00	1.822	0.651
53	0	0	$19.50	$6.83	$1,749.83	1.822	0.638
54	0	$0	$19.50	$6.69	$1,756.52	1.822	0.625
55	0	0	$19.50	$6.56	$1,763.08	1.822	0.613
56	0	0	$19.50	$6.43	$1,769.52	1.822	0.601
57	0	0	$19.50	$6.31	$1,775.82	1.822	0.589
58	0	0	$19.50	$6.18	$1,782.01	1.822	0.578
59	0	0	$19.50	$6.06	$1,788.07	1.822	0.566
60	0	0	$19.50	$5.94	$1,794.01	1.822	0.555
Total BLDG cost	$1,575.00	Replacements performed		Actual lifetime energy (MWh)		111.15	65.16	Discounted lifetime energy (MWh)
Decom = 0.75%	$11.81
		Levelized Cost of Power ($ /kW)			$1,805.82	Include decommission from column B
	All the above values are in units of $ /kW

	Levelized Cost of Energy – LCOE ($ /MWh)				$27.71		Equals Levelized cost of power
							divided by
		All above values are in units of $ /kW					discounted lifetime energy

Source is Utility Solar w/ CF = 20.8%			0.208	1.822	average yearly energy (MWh)
Assumed discount rate is 2% /year
Levelized Cost of Power in $ /kW units			$1,805.82	from Column F above, after year 60
Conversion factor from Power to Actual Energy			0.0091470554	for CF = 0.208	Conversion = 1 ÷ (CF x 8760 h /yr x 60 yrs /1000 kW per MW)

Levelized Cost of Energy			$27.71	/MWh	LCOE