## Sheet2
Year n	actual Build cost	discounted Build cost	actual O&M cost	discounted O&M cost	discounted cumulative cost
$0.00	$1,020.00	$1,020.00	$37.50	$37.50	$1,057.50
$1.00	0	$0.00	$37.50	$35.71	$1,093.21
$2.00	0	$0.00	$37.50	$34.01	$1,127.23
$3.00	0	$0.00	$37.50	$32.39	$1,159.62
$4.00	0	$0.00	$37.50	$30.85	$1,190.47
$5.00	0	$0.00	$37.50	$29.38	$1,219.86
$6.00	0	$0.00	$37.50	$27.98	$1,247.84
$7.00	0	$0.00	$37.50	$26.65	$1,274.49
$8.00	0	$0.00	$37.50	$25.38	$1,299.87
$9.00	0	$0.00	$37.50	$24.17	$1,324.04
$10.00	0	$0.00	$37.50	$23.02	$1,347.07
$11.00	0	$0.00	$37.50	$21.93	$1,368.99
$12.00	0	$0.00	$37.50	$20.88	$1,389.87
$13.00	0	$0.00	$37.50	$19.89	$1,409.76
$14.00	0	$0.00	$37.50	$18.94	$1,428.70
$15.00	235	$113.04	$37.50	$18.04	$1,559.78
$16.00	0	$0.00	$37.50	$17.18	$1,576.96
$17.00	0	$0.00	$37.50	$16.36	$1,593.32
$18.00	0	$0.00	$37.50	$15.58	$1,608.90
$19.00	0	$0.00	$37.50	$14.84	$1,623.74
$20.00	0	$0.00	$37.50	$14.13	$1,637.87
$21.00	0	$0.00	$37.50	$13.46	$1,651.33
$22.00	0	$0.00	$37.50	$12.82	$1,664.15
$23.00	0	$0.00	$37.50	$12.21	$1,676.36
$24.00	0	$0.00	$37.50	$11.63	$1,687.99
$25.00	0	$0.00	$37.50	$11.07	$1,699.06
$26.00	0	$0.00	$37.50	$10.55	$1,709.61
$27.00	0	$0.00	$37.50	$10.04	$1,719.65
$28.00	0	$0.00	$37.50	$9.57	$1,729.22
$29.00	0	$0.00	$37.50	$9.11	$1,738.33
$30.00	480	$111.06	$37.50	$8.68	$1,858.07
$31.00	0	$0.00	$37.50	$8.26	$1,866.33
$32.00	0	$0.00	$37.50	$7.87	$1,874.20
$33.00	0	$0.00	$37.50	$7.50	$1,881.70
$34.00	0	$0.00	$37.50	$7.14	$1,888.83
$35.00	0	$0.00	$37.50	$6.80	$1,895.63
$36.00	0	$0.00	$37.50	$6.47	$1,902.11
$37.00	0	$0.00	$37.50	$6.17	$1,908.27
$38.00	0	$0.00	$37.50	$5.87	$1,914.15
$39.00	0	$0.00	$37.50	$5.59	$1,919.74
$40.00	0	$0.00	$37.50	$5.33	$1,925.07
$41.00	0	$0.00	$37.50	$5.07	$1,930.14
$42.00	0	$0.00	$37.50	$4.83	$1,934.97
$43.00	0	$0.00	$37.50	$4.60	$1,939.57
$44.00	0	$0.00	$37.50	$4.38	$1,943.95
$45.00	235	$26.15	$37.50	$4.17	$1,974.28
$46.00	0	$0.00	$37.50	$3.97	$1,978.26
$47.00	0	$0.00	$37.50	$3.79	$1,982.04
$48.00	0	$0.00	$37.50	$3.61	$1,985.65
$49.00	0	$0.00	$37.50	$3.43	$1,989.08
$50.00	0	$0.00	$37.50	$3.27	$1,992.35
Decommission = 1%	$1,970.00	$171.79			$2,164.14
All values are in units of $ /kW
Energy source is Onshore wind
Assumed discount rate is 5% /yr
Levelized cost of Power =		$2,164.14	$ /kW
Capacity Factor = 37.9%
Levelized Cost of Energy – LCOE =		= $2164.14 ÷	166.002	$13.04	/MWh

## Sheet1
	Actual	Discounted	Actual	Discounted	Cumulative	Yearly	Discounted
	Build cost	Build cost	O&M cost	O&M cost	cost	energy	yearly energy	Remarks
Year n	$750 /kW					average	in MWh	Utility PV Solar @ 6%
	$750	$750.00	$19.50	$19.50	$769.50	1.822	1.822	Construction
1	0	$0.00	$19.50	$18.40	$787.90	1.822	1.719	completed
2	0	$0.00	$19.50	$17.35	$805.25	1.822	1.622	In 1 year
3	0	$0.00	$19.50	$16.37	$821.62	1.822	1.530
4	0	$0.00	$19.50	$15.45	$837.07	1.822	1.443	Total CAPEX = $750 /kW
5	0	$0.00	$19.50	$14.57	$851.64	1.822	1.362
6	0	$0.00	$19.50	$13.75	$865.39	1.822	1.284	Columns A through F
7	0	$0.00	$19.50	$12.97	$878.36	1.822	1.212	are nominal dollars
8	0	$0.00	$19.50	$12.23	$890.59	1.822	1.143	per kilowatt
9	0	$0.00	$19.50	$11.54	$902.13	1.822	1.078	of peak generating
10	0	$0.00	$19.50	$10.89	$913.02	1.822	1.017	capacity
11	0	$0.00	$19.50	$10.27	$923.29	1.822	0.960
12	$37.50	$18.64	$19.50	$9.69	$951.62	1.822	0.906	Replace DC inverter 5%
13	0	$0.00	$19.50	$9.14	$960.76	1.822	0.854
14	0	$0.00	$19.50	$8.62	$969.39	1.822	0.806
15	0	$0.00	$19.50	$8.14	$977.53	1.822	0.760
16	0	$0.00	$19.50	$7.68	$985.20	1.822	0.717
17	0	$0.00	$19.50	$7.24	$992.44	1.822	0.677
18	0	$0.00	$19.50	$6.83	$999.27	1.822	0.638
19	0	$0.00	$19.50	$6.45	$1,005.72	1.822	0.602
20	0	$0.00	$19.50	$6.08	$1,011.80	1.822	0.568
21	0	$0.00	$19.50	$5.74	$1,017.54	1.822	0.536
22	0	$0.00	$19.50	$5.41	$1,022.95	1.822	0.506
23	0	$0.00	$19.50	$5.11	$1,028.05	1.822	0.477
24	$37.50	$9.26	$19.50	$4.82	$1,042.13	1.822	0.450	Replace DC inverter 5%
25	0	$0.00	$19.50	$4.54	$1,046.67	1.822	0.425
26	0	$0.00	$19.50	$4.29	$1,050.96	1.822	0.401
27	0	$0.00	$19.50	$4.04	$1,055.00	1.822	0.378
28	0	$0.00	$19.50	$3.81	$1,058.82	1.822	0.356
29	0	$0.00	$19.50	$3.60	$1,062.42	1.822	0.336
30	0	$0.00	$19.50	$3.40	$1,065.81	1.822	0.317
31	0	$0.00	$19.50	$3.20	$1,069.02	1.822	0.299
32	0	$0.00	$19.50	$3.02	$1,072.04	1.822	0.282
33	0	$0.00	$19.50	$2.85	$1,074.89	1.822	0.266
34	0	$0.00	$19.50	$2.69	$1,077.58	1.822	0.251
35	0	$0.00	$19.50	$2.54	$1,080.11	1.822	0.237
36	$37.50	$4.60	$19.50	$2.39	$1,087.11	1.822	0.224	Replace DC inverter 5%
37	0	$0.00	$19.50	$2.26	$1,089.37	1.822	0.211
38	0	$0.00	$19.50	$2.13	$1,091.50	1.822	0.199
39	0	$0.00	$19.50	$2.01	$1,093.51	1.822	0.188
40	0	$0.00	$19.50	$1.90	$1,095.40	1.822	0.177
41	0	$0.00	$19.50	$1.79	$1,097.19	1.822	0.167
42	0	$0.00	$19.50	$1.69	$1,098.88	1.822	0.158
43	0	$0.00	$19.50	$1.59	$1,100.47	1.822	0.149
44	0	$0.00	$19.50	$1.50	$1,101.97	1.822	0.140
45	0	$0.00	$19.50	$1.42	$1,103.39	1.822	0.132
46	$0.00	$0.00	$19.50	$1.34	$1,104.73	1.822	0.125
47	0	$0.00	$19.50	$1.26	$1,105.99	1.822	0.118
48	$712.50	$43.46	$19.50	$1.19	$1,150.64	1.822	0.111	Replace hardware = 95%
49	0	$0.00	$19.50	$1.12	$1,151.76	1.822	0.105	Panel module and BOS hardware plus labor.
50	0	$0.00	$19.50	$1.06	$1,152.82	1.822	0.099	71% + 24% = 95%
51	0	$0.00	$19.50	$1.00	$1,153.82	1.822	0.093
52	0	$0.00	$19.50	$0.94	$1,154.76	1.822	0.088
53	0	$0.00	$19.50	$0.89	$1,155.65	1.822	0.083
54	0	$0.00	$19.50	$0.84	$1,156.49	1.822	0.078
55	0	$0.00	$19.50	$0.79	$1,157.28	1.822	0.074
56	0	$0.00	$19.50	$0.75	$1,158.02	1.822	0.070
57	0	$0.00	$19.50	$0.70	$1,158.73	1.822	0.066
58	0	$0.00	$19.50	$0.66	$1,159.39	1.822	0.062
59	0	$0.00	$19.50	$0.63	$1,160.02	1.822	0.059
60	0	$0.00	$19.50	$0.59	$1,160.61	1.822	0.055
Total BLDG cost	$1,575.00	Replacements performed		Actual lifetime energy (MWh)		111.15	31.27	Discounted lifetime energy (MWh)
Decom = 0.75%	$11.81
		Levelized Cost of Power ($ /kW)			$1,172.42	Include decommission from column B
	All the above values are in units of $ /kW

	Levelized Cost of Energy – LCOE ($ /MWh)				$37.49		Equals Levelized cost of power
							divided by
		All above values are in units of $ /kW					discounted lifetime energy

Source is Utility Solar w/ CF = 20.8%			0.208	1.822	average yearly energy (MWh)
Assumed discount rate is 6% /year
Levelized Cost of Power in $ /kW units			$1,172.42	from Column F above, after year 60
Conversion factor from Power to Actual Energy			0.0091470554	for CF = 0.208	Conversion = 1 ÷ (CF x 8760 h /yr x 60 yrs /1000 kW per MW)

Levelized Cost of Energy			$37.49	/MWh	LCOE